Customer_____________________________________

Location______________________________________

Phone________________________________________

Email_________________________________________ Date__________________________________________

Property Preparation:

•Secure heavy-duty tarps from roof edges to the ground to help protect landscape and house

•Strip all the existing shingles down to wood deck and dispose of properly. Dumpster is for roof debris only

Entire House____ Main House____ Portion_______________-______________

•Wood Replacement: ½” Plywood $1.80 per square foot. 5/8” Plywood $2.00 sq ft. 1x8 spruce board $4.50 lineal foot

______Plywood over existing roof boards. All to be fastened with ring nails and on rafters. Remove and replace existing roof boards___

Roof Preparation & Shingle Install: CertainTeed Integrity System

•Install 6’ of CertainTeed Ice & Water shield on front edges. 18” along walls and 3’ feet in all valleys

•Install CertainTeed High Performance Diamond Deck Synthetic underlayment on remaining roof area unless noted otherwise

•Install 8” drip edge along all roof edges. Color: White_____  Brown_____ Mill_____

•Install CertainTeed Swift start along all perimeter edges of the roof  ( Wind upgrade to 130 MPH)

•Install CertainTeed Landmark Architectural Pro shingles.          Color:___________________________   	                          ________

•Install new bath roof vents if needed: _______  	  Install new kitchen vent________	  	  	 	                           Initials

•Install new pipe flashing boots and seal with ice and water shield: 1.5” ____ 2” ____ 2.5” ____ 3”: ____  4”_____

•Install ice and water shield up and along chimney with new flashing.

•Install CertainTeed ridge vent and cap

Clean Up:

•Blow entire roof off and clean out gutters. Magnetic sweep around the jobsite for nails

Extras:

Re lead the chimney: $______ Quantity_____

•Replacement Skylights with new flashing kits  Size __________      Quantity__________

Permits: Will be obtained by JWS Roofing INC unless otherwise noted. By signing this contract you consent to have Justin Smith owner of JWS Roofing INC to apply and hold a building permit on your property to complete your roof install or repair.                                           ___________

Warranties:												Initials	            10-year labor install

Terms: Estimates are good for 30 days and are subject to change. Homeowner is responsible for satellite dishes and solar panels

If legal action is needed for payment homeowner is responsible for legal fees

JWS Roofing INC is not responsible for damage to interior items such as wall and ceiling finishes, wall hung items and landscape

JWS Roofing INC is not responsible for interior attic clean up after roof install

Total excluding extras:  	 	 	 	 	 	Total with Extras: $________________ Initials_____________

Deposit at signing:

Start of job:

Balance upon completion:

Deposits are refundable within 3 days of signing this contract

Customer Signature ________________________________________    Date__________________

Justin Smith________________________________________ Date ____________________

JWS Roofing INC 58 Wallen Way Northbridge MA 01534  	 	CS-093980  HIC 143412      Photos will be provided upon completion